P03i/P04i data collector invitation to tender

Weather data collector with 5 data inputs (1x P03i/P04i -GPS weather station, 4x P03i/P04i -W wind sensors) and 1 data output (for KNX WS1000 Color/Style, WS1000 Color/Style and WS1 Color/Style controllers). 
Rail-mounted device (6 sub-units). Dimensions 107 x 88 x 60 (W x H x D in mm).

Manufactured by: Elsner Elektronik (www.elsner-elektronik.de)
Type: P03i/P04i data collector

P03i/P04i 4x distributor invitation to tender

Weather data distributor with 1 data input (1x P03i/P04i -GPS weather station) and 4 data outputs (for KNX WS1000 Color/Style, WS1000 Color/Style and WS1 Color/Style controllers). 
Rail-mounted device (6 sub-units). Dimensions 107 x 88 x 60 (W x H x D in mm).

Manufactured by: Elsner Elektronik (www.elsner-elektronik.de)
Type: P03i/P04i distributor